## Sheet1
ASSET REGISTER
DATE: 28TH OF MAY 2024 SITE: ADUNOLA HOUSE FM NAME: ISHOLA SODIQ.O
Building Name | Premises Code | Floor | Space | Asset Name | Asset Description | Model | ASSET REF NO | Building Element | Manufacturer | In/Out of service
ADUNOLA HOUSE | ER 1 | GROUND FLOOR | ELECT ROOM 1 | SPLIT UNIT AC | AIR CONDITIONING 2HP | CU-PC18MKK | AD/OPS/2015/001 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | ER 2 | GROUND FLOOR | ELECT ROOM 2 | SPLIT UNIT AC | AIR CONDITIONING 2HP | 38KHD18-708 | AD/OPS/2015/002 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PR 1 | GROUND FLOOR | PANEL ROOM 1 | SPLIT UNIT AC | AIR CONDITIONING 2HP | CU-PC18MKK | AD/OPS/2015/003 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | PR 2 | GROUND FLOOR | PANEL ROOM 2 | SPLIT UNIT AC | AIR CONDITIONING 3HP | CU-PC28FFH | AD/OPS/2015/004 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | LR | GROUND FLOOR | LIFT ROOM | SPLIT UNIT AC | AIR CONDITIONING 2HP | CU-PC18MKH | AD/OPS/2015/005 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | MR | SECURITY POST | MAIL ROOM | SPLIT UNIT AC | AIR CONDITIONING 3HP | MFS2-24CR | AD/OPS/2015/006 | HVAC | MIDEA | YES
ADUNOLA HOUSE | RCPN | GROUND FLOOR | RECEPTION | SPLIT UNIT AC | AIR CONDITIONING 3HP | KF-61LW/AC | AD/OPS/2015/007 | HVAC | BALTON | YES
ADUNOLA HOUSE | FM-O | GROUND FLOOR | FM OFFICE | SPLIT UNIT AC | AIR CONDITIONING 1.5HP | CU-PC12KKH | AD/OPS/2015/008 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | EMT ROOM | GROUND FLOOR | EMOTECH ROOM | SPLIT UNIT AC | AIR CONDITIONING 1.5HP | CU-PC12GKH | AD/OPS/2015/009 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | TR | GROUND FLOOR | TECHNICIAN ROOM | SPLIT UNIT AC | AIR CONDITIONING 1.5HP | CU-PC12KKH | AD/OPS/2015/010 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | STANDING UNIT AC | AIR CONDITIONING 5HP | CS-C45FFH | AD/OPS/2015/011 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | STANDING UNIT AC | AIR CONDITIONING 5HP | CS-C45FFH | AD/OPS/2015/012 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | STANDING UNIT AC | AIR CONDITIONING 5HP | CS-C45FFH | AD/OPS/2015/013 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | STANDING UNIT AC | AIR CONDITIONING 3HP | KF-61LW/AC | AD/OPS/2015/014 | HVAC | BALTON | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | CASSETTE UNIT AC | AIR CONDITIONING 3HP | KF-61LW/AC | AD/OPS/2015/015 | HVAC | BALTON | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | SPLIT UNIT AC | AIR CONDITIONING 2HP | CS-PC18JKF | AD/OPS/2015/016 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | BSL | GROUND FLOOR | BRISTOL | SPLIT UNIT AC | AIR CONDITIONING 1.5HP | CS-PC12JKF-3 | AD/OPS/2015/017 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | GYM | GROUND FLOOR | GYM | STANDING UNIT AC | AIR CONDITIONING 5HP | CS-C45FFH | AD/OPS/2015/018 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | CRC | GROUND FLOOR | CRECHE | SPLIT UNIT AC | AIR CONDITIONING 2HP | ES-KC18KKF | AD/OPS/2015/019 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | CRC | GROUND FLOOR | CRECHE | SPLIT UNIT AC | AIR CONDITIONING 2HP | ES-PC18KKF | AD/OPS/2015/020 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | CRC | GROUND FLOOR | CRECHE | SPLIT UNIT AC | AIR CONDITIONING 1.5HP | ES-PC12KKH | AD/OPS/2015/021 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | CRC | GROUND FLOOR | CRECHE | SPLIT UNIT AC | AIR CONDITIONING 2HP | ES-PC18KKF-3 | AD/OPS/2015/022 | HVAC | PANASONIC | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/023 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/024 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/025 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/026 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/027 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/028 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/029 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/030 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/031 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/032 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/033 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/034 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/035 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/036 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/037 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/038 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/039 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/040 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/041 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/042 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/043 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/044 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/045 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/046 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/047 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/048 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/049 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/050 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/051 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/052 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/053 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/054 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/055 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/056 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/057 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/058 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING A | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N | AD/OPS/2015/059 | HVAC | CARRIER | YES
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING A | LIGHTNING CONTROL PANEL | 200A DISTRIBUTION PANEL | LVP-R | AD/OPS/2015/060 | LIGHTNING
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING A | AC CONTROL PANEL | 300A DISTRIBUTION PANEL | LVP-ACR | AD/OPS/2015/061 | HVAC
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/061 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/062 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/063 | HVAC | CARRIER | YES
ADUNOLA HOUSE | PNTH | PENT HOUSE | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/064 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/065 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/066 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR8 | 8TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/067 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/068 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/069 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR7 | 7TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/070 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/071 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/072 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR6 | 6TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/073 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/074 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/075 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR5 | 5TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/076 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/077 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/078 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR4 | 4TH FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/079 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/080 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/081 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/082 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR3 | 3RD FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/083 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/084 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/085 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR2 | 2ND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/086 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/087 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/088 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/089 | HVAC | CARRIER | YES
ADUNOLA HOUSE | FLR1 | 1ST FLOOR | WING B | STANDING UNIT AC | HVAC 5 HP | AC100TXADKC | AD/OPS/2019/090 | HVAC | SAMSUNG | YES
ADUNOLA HOUSE | GF | GROUND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/091 | HVAC | CARRIER | YES
ADUNOLA HOUSE | GF | GROUND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/092 | HVAC | CARRIER | YES
ADUNOLA HOUSE | GF | GROUND FLOOR | WING B | CASSETTE UNIT AC | HVAC 5 HP | 38KDHT60N-518T | AD/OPS/2019/093 | HVAC | CARRIER | YES
ADUNOLA HOUSE | INLB | INNOVATION LAB | WING B | CASSETTE UNIT AC | HVAC 2 HP | 38KHA018DS | AD/OPS/2019/094 | HVAC | CARRIER | YES
ADUNOLA HOUSE | INLB | INNOVATION LAB | WING B | CASSETTE UNIT AC | HVAC 2 HP | 38KHA018DS | AD/OPS/2019/095 | HVAC | CARRIER | YES
ADUNOLA HOUSE | INLB | INNOVATION LAB | WING B | CASSETTE UNIT AC | HVAC 2 HP | 38KHA018DS | AD/OPS/2019/096 | HVAC | CARRIER | YES
ADUNOLA HOUSE | INLB | INNOVATION LAB | WING B | CASSETTE UNIT AC | HVAC 2 HP | 38QUS012NS-1 | AD/OPS/2019/097 | HVAC | CARRIER | YES
ADUNOLA HOUSE | INLB | INNOVATION LAB | WING B | CASSETTE UNIT AC | HVAC 2 HP | 38QUS012NS-2 | AD/OPS/2019/098 | HVAC | CARRIER | YES
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING B | LIGHTNING CONTROL PANEL | 200A DISTRIBUTION PANEL | LVP-L | AD/OPS/2019/099 | LIGHTNING
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING B | AC CONTROL PANEL | 300A DISTRIBUTION PANEL | LVP-ACL | AD/OPS/2019/100 | HVAC
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING B | UPS BOX SWITCH | CHANGE OVER BOX FOR 30KVA UPS |  | AD/OPS/2019/101 | PANO LIFT
ADUNOLA HOUSE | B -1 | BASEMENT 1 | WING A | UPS | 30KVA UPS - MELKSON |  | AD/OPS/2019/102 | PANO LIFT
ADUNOLA HOUSE | GF | GROUND FLOOR | WING B | UPS | 30KVA UPS - SOCOMEC
ADUNOLA HOUSE | WTP | WTP |  | FILTRATION PUMP(2) | 3HP PUMP |  | AD/OPS/2019/103 | SUPPLY | INTERDAB | YES
ADUNOLA HOUSE | STA | STORAGE TANK AREA |  | TRANSFER PUMP | 1.5HP PUMP |  | AD/OPS/2019/104 | SUPPLY | INTERDAB | YES
ADUNOLA HOUSE | STM | SEWAGE TANK ROOM |  | BLOWER(4) | 3HP PUMP |  | AD/OPS/2019/105 | DRAINAGE | SEA VORTEX BLOWER
ADUNOLA HOUSE | STP | STP, SEWAGE PIT |  | SEWAGE PUMP(3) | 1.5HP, 3HP PUMP |  | AD/OPS/2019/106 | DRAINAGE
ADUNOLA HOUSE | BASEMENT 1 | BASEMENT 1 |  | SUMP PIT PUMP | 1.5HP PUMP |  | AD/OPS/2019/107 | DRAINAGE | INTERDAB
ADUNOLA HOUSE | PH | POWER HOUSE AREA |  | POWER TRANSFORMER | Electrical-Transformer 1250KVA. | DYN11-FN296347 | AD/OPS/2019/108 | POWER | MATELEC | YES
ADUNOLA HOUSE | PH | POWER HOUSE AREA |  | GENERATOR | MP350KVA | 2206A-E13TAG2 | AD/OPS/2019/109 | POWER | MARAPCO | YES
ADUNOLA HOUSE | PH | POWER HOUSE AREA |  | GENERATOR | JP500KVA | 2506A-E15TAG2 | AD/OPS/2019/110 | POWER | MARAPCO | YES
ADUNOLA HOUSE | PH | POWER HOUSE AREA |  | GENERATOR | MP1000KVA | 400STAG2A | AD/OPS/2019/111 | POWER | MARAPCO | YES
ADUNOLA HOUSE | GYM | GYM AREA | GF | TELEVISION 40'' | HISENSE |  | AD/OPS/2019/112 | GYM EQUIPMENT
ADUNOLA HOUSE | TRD | GYM AREA | GF | TREADMILL | S |  | AD/OPS/2019/113 | GYM EQUIPMENT
ADUNOLA HOUSE | TRD | GYM AREA | GF | TREADMILL |  |  | AD/OPS/2019/114 | GYM EQUIPMENT
ADUNOLA HOUSE | TRD | GYM AREA | GF | TREADMILL |  |  | AD/OPS/2019/115 | GYM EQUIPMENT
ADUNOLA HOUSE | ELV | ELEVATOR | WING A | MITSUBISHI ELEVATOR | MITSUBISHI ELECTRIC- 825KG | NS20004 - Elevator A | AD/OPS/2019/116 | ELEVATOR | MITSUBISHI ELEVATOR
ADUNOLA HOUSE | ELV | ELEVATOR | WING A | PANORAMIC ELEVATOR | OTIS GON2- 630KG |  | AD/OPS/2019/117 | ELEVATOR | OTIS MOTORS
ADUNOLA HOUSE | ELV | ELEVATOR | WING B | MITSUBISHI ELEVATOR | MITSUBISHI ELECTRIC- 750KG | NS20004 - Elevator B | AD/OPS/2019/118 | ELEVATOR | MITSUBISHI ELEVATOR
ADUNOLA HOUSE | ELV | ELEVATOR | WING B | PANORAMIC ELEVATOR | OTIS GON2- 630KG | 158 | AD/OPS/2019/119 | ELEVATOR | OTIS MOTORS